## Slide 1: BVRIT HYDERABAD College of Engineering for Women
Electronics and Communication Engineering
Self-Stabilizing Spoon for Parkinson's Sufferers
1
K. Rishitha : 21WH1A0481
M. Lakshmi Priya : 21WH1A04A1
D. Yashaswi : 21WH1A04B3
N. Manasa : 21WH1A04B6
Date:30-12-2024
By
www.bvrithyderabad.edu.in
BVRIT HYDERABAD College of Engineering for Women
Under the Guidance of
Dr. M. Ranjeeth Kumar

## Slide 2: Contents
Abstract
Introduction
Objective
Motivation
Components
Working principle
Flow Chart
Result
Conclusion
References
2
www.bvrithyderabad.edu.in

## Slide 3: Abstract
The self-stabilizing spoon assists individuals with Parkinson’s disease by detecting hand tremors using sensors. An Arduino microcontroller processes this data, activating servo motors to keep the spoon steady. With a rechargeable battery and ergonomic design, it enhances comfort and usability, significantly improving the dining experience for users.
3
www.bvrithyderabad.edu.in

## Slide 4: Introduction
Project goal: To improve the daily lives of those with Parkinson's by reducing the impact of hand tremors.
The issue: Hand tremors can make simple tasks, such as eating, difficult and uncomfortable, as they may struggle to use utensils on their own.
Inspiration source: Our project takes inspiration from stabilization techniques commonly used in photography and aviation.
Technology utilized: We have incorporated IoT and sensors to create a device that automatically counteracts hand tremors.
4
www.bvrithyderabad.edu.in

## Slide 5: Objective
5
www.bvrithyderabad.edu.in
Develop a device that enables individuals with Parkinson's disease and similar movement disorders to eat independently by counteracting involuntary hand tremors.
Ensure real-time detection and response to tremors using sensors, microcontrollers, and servo motors for stable and accurate food delivery.
Provide a comfortable, ergonomic, and portable solution powered by a rechargeable battery to enhance the daily usability and quality of life for users.

## Slide 6: Motivation
6
www.bvrithyderabad.edu.in
Addressing Patient Needs: Focus on the challenges faced by Parkinson’s patients during mealtime due to hand tremors.
Improving Quality of Life: Aim to enhance independence and dignity for users while eating.
Technological Exploration: Explore the application of IoT and sensor technologies in creating a low-cost solution.
Hands-On Learning: Gain practical experience in engineering, design, and prototype development.
Empowerment Through Innovation: Demonstrate the potential of affordable assistive devices to make a meaningful impact in healthcare.

## Slide 7: Components
Arduino UNO
Servo Motors
Accelerometer
Gyroscope
Battery
Jumper Wires
Bread Board
7
www.bvrithyderabad.edu.in

## Slide 8
8
www.bvrithyderabad.edu.in
Arduino UNO
Micro 9g Servomotor
MPU 6050
The Arduino Uno is a widely used microcontroller board. It features an ATmega328P microcontroller and offers 14 digital input/output pins, 6 analog inputs, and a 16 MHz quartz crystal. These components make the Arduino Uno versatile and reliable, suitable for various projects requiring robust performance.
The Micro 9g servo FS90 is a small yet powerful servo motor capable of rotating approximately 180 degrees with a torque output of approximately 0.127 Nm. The motor has three pins in total: one for the signal (PWM), one for the input voltage, and one for ground, with an operating voltage of 4.8–6.0V.
The MPU6050 combines a three-axis gyroscope and a three-axis accelerometer on the same board, along with an onboard Digital Motion Processor. With the gyroscope and accelerometer, which are triple-axis Micro Electrical Mechanical Systems (MEMS), it can provide information about the board's angular position and acceleration.

## Slide 9: Schematic Diagram
8
www.bvrithyderabad.edu.in

## Slide 10: Working Principle
-Tremor Detection: The IMU’s gyroscope and accelerometer work together to sense the orientation and movement of the spoon. The accelerometer detects linear movement (tilt) on the x, y, and z axes, while the gyroscope measures rotational movement, including roll, pitch, and yaw.
-Signal Processing: The Arduino Uno microcontroller continuously receives data from the IMU, analyzing it to detect involuntary hand tremors. The microcontroller processes this information to distinguish between intentional movements and tremors.
-Stabilization Adjustment: When tremors are detected, the Arduino signals the SG90 servo motors to adjust the spoon’s position. These servos are mounted perpendicularly and adjust the spoon’s head in real-time to counteract unintended tremors, keeping the spoon stable.
10
www.bvrithyderabad.edu.in

## Slide 11: Flow chart
9
www.bvrithyderabad.edu.in
Demonstrates the work flow through a flow chart, from the start of code to rotational commands of motor

## Slide 12: Result
11
www.bvrithyderabad.edu.in
Simulation Result

## Slide 13: Hardware Result
12
www.bvrithyderabad.edu.in
Pitch
Roll

## Slide 14
11
www.bvrithyderabad.edu.in
SIMULATION OUTPUT

## Slide 15
14
www.bvrithyderabad.edu.in
RESULT

## Slide 16: Conclusion
15
www.bvrithyderabad.edu.in
The self-stabilizing spoon enables individuals with Parkinson’s disease to eat independently, significantly boosting their confidence and dignity during mealtime.
Equipped with advanced sensors, the spoon effectively corrects tremors in real-time, ensuring a steady and controlled eating experience.
This innovative device greatly enhances the quality of life for those with movement disorders, promoting greater independence and enjoyment during meals.

## Slide 17: References
Jaswanth, D.K.; Lenord, C.; Pavan, S.L.; Nagaraju, C. Self-Stabilizing Spoon for Parkinson’s Ailment. Int. J. Eng. Manuf. 2020, 10, 38.
Ripin, Z.M.; Chan, P.Y.; Alisah, I. Preliminary Evaluation of Active Tremor Cancellation Spoon for Patients with Hand Tremor. In IOP Conference Series: Materials Science and Engineering; IOP Publishing: Bristol, UK, 2020; Volume 815.
“Self Stabilizing Spoon for Parkinson's Patients, with Application Enabled Remote Monitoring" by International Research Journal of Engineering and Technology (IRJET) (2023)
"Smart Spoon for Parkinson's Patients" by International Journal for Research in Applied Sciences and Engineering Technology (IJRASET) (2022)
16
www.bvrithyderabad.edu.in

## Slide 18: THANK YOU
BVRIT HYDERABAD College of Engineering for Women
www.bvrithyderabad.edu.in
15